| Permit Ref. No.: | PROJECT: |  |
| --- | --- | --- |
|  | EXCAVATION PERMIT |  |
| THE PERMIT IS REQUIRED FOR EXCAVATION WORK AND IS IN ADDITION TO APPROVALS AND LICENCE REQUIREMENTS FROM RELEVANT AUTHORITIES (WATER, GAS, ELECTRICITY, SEWER, ETC. |
| CONTRACTOR: | LOCATION: |
| EXCAVATION FOR : | DIMENSIONS: |
| EQUIPMENT TO BE USED: | SOIL PROPERTIES: |
| EXISTING SERVICES: TO | EXCAVATION SHORED/PILED/SLOPED/VERTICAL: |
| PERMIT PERIOD: | PERMIT ISSUED BY (Project Manager): ……………………………….…. ……………………………………. (name) (signed) |
| EMERGENCY PHONE NO: |  |
| POTENTIAL HAZARDS: (to be completed by Excavation Supervisor/ Designated Official) |
| □ Deep Excavation (design reqd). □ Collapse of Sides. □ Undermining Adjacent Structure. □ Existing Services/ Overhead Lines. □ Fall of Materials/ Persons/ Plant. | □ Flooding/ High Water Table. □ Contaminated Atmospheres. □ Contaminated Soil. □ Dust, Noise or Vibration. □ Rock Ripping/ Breaking. | □ Heavy Machinery. □ Transport Material on Public Road. □ Inadequate Illumination □ Access/ Egress Limitations. □ Public Protection. | Other Anticipated Hazards: |
| PRECAUTION/ HAZARD CONTROL REQUIREMENT |
| No. | REQUIREMENT | YES | No. | REQUIREMENT | YES | No. |
| 1 | Excavation Risk Assessment to be completed. |  |  | 11 | Atmosphere to be tested prior to entry. |  |  |
| 2 | Approvals/licences to be obtained from authorities. |  |  | 12 | Air monitoring to take place throughout excavation period. |  |  |
| 3 | Engineer design/safe work procedure to be completed. |  |  | 13 | Lighting to be provided and adequately grounded. |  |  |
| 4 | Confined Space Entry Permit to be obtained. |  |  | 14 | Ventilation/ dust masks/ respirators to be provided. |  |  |
| 5 | Area to be secured; signs and barriers to be erected. |  |  | 15 | Fire and emergency procedures to be established. |  |  |
| 6 | Engineer design requirements shall be completed. |  |  | 16 | Fire extinguishing equipment to be provided. |  |  |
| 7 | Existing services to be located/ removed/ protected. |  |  | 17 | Rescue team to be present or on standby. |  |  |
| 8 | Existing services to be locked-out. |  |  | 18 | Certified First Aider to be present or on standby. |  |  |
| 9 | Dewatering system to be installed/ on standby. |  |  | 19 | Direct and constant supervision shall take place. |  |  |
| 10 | Safe access/ egress shall be maintained. |  |  | 20 | Others. |  |  |
| IN THE EVENT OF ANY UNANTICIPATED SERVICE OR OBJECT BEING DISCOVERED, OR ANY OTHER EMERGENCY, WORK SHALL BE STOPPED IMMEDIATELY AND THE RELEVANT AUTHORITY NOTIFIED. |
| Prior to working | PPE REQUIREMENTS: |
|  | CONFIRMATION BY EXCAVATION SUPERVISOR: I confirm that the precautions and PPE requirements noted above will be complied with and work carried out in a safe manner. I will ensure that personnel are competent to perform this work and are fully briefed on the safe method of work procedures. name …………………………………………... signed ……………………………………………………. date ……………………………........ |
| Permit cancellation | EXCAVATION SUPERVISOR: The work described in this permit is either (delete as appropriate): a). COMPLETE: Excavation and backfill has been completed, all personnel and equipment withdrawn, and the work area inspected and made safe; OR b). SUSPENDED: The work has been suspended for the reasons stated below.. REASON FOR SUSPENDING WORK: name …………………………………………... signed ……………………………………………………. date ……………………………........ |
|  | CANCELLATION BY SAFETY OFFICER: This permit to work is now cancelled. A new permit is required for further working at height in this location. name …………………………………………... signed ……………………………………………………. date ……………………………........ |