| Permit Ref. No.: |  |  |
| --- | --- | --- |
|  | WORKING AT HEIGHT PERMIT |  |
| CONTRACTOR: | LOCATION: |
| EQUIPMENT TO BE USED: | EXISTING SERVICES: |
| Scope of Work: |
| PERMIT PERIOD to | PERMIT ISSUED BY (Project Manager): ……………………………………. (signed) |
| EMERGENCY PHONE NO: |  |
| HAZARDS LIST: (select your hazards from the list below) |
| □ Fall from height 5 meters or above. □ Fall from height 2 metres or above but not exceeding 5 meters. □ Fall from height below 2 meters. □ Fall from steps. □ Fall from ladder. □ Vehicles/Traffic. | □ Fall from work platform. □ Falling into water. □ Falling into hazardous substance. □ Falling objects. □ Fragile roof/surfaces. □ Weather/temperature. | □ Lifting/pushing/pulling. □ Live work (only under separate permit). □ Lone working. □ Manual Handling. □ Moving Materials. □ Fall into working at height. | □ Obstructions ground level. □ Obstructions overhead. □ Poor lifting environment. □ Restricted space. □ Slips/trips. □ Other Anticipated Hazards: |
| PRECAUTION/ HAZARD CONTROL REQUIREMENT |
| No. | REQUIREMENT | YES | No. | REQUIREMENT | YES | No. |
| 1 | Confirm that there are no reasonably practicable alternatives to work at height? |  |  | 7 | Access equipment to be used only for its intended purpose, in the manner designed and within its rated capacity? |  |  |
| 2 | Risk assessment and method statement/safe system of work documented and take into account falling risk as well as associated hazards eg falling objects, overhead lines, weather, unauthorised access, fragile surfaces? |  |  | 8 | Harnesses to be worn and attached to a secure point by an inertia device, or by a line so short so as to prevent a fall? Required for use of cherry pickers, access cradles, locations without edge protection? |  |  |
| 3 | Workers are suitably qualified to erect/use access equipment or fall arrest equipment involved? |  |  | 9 | Scaffolding has certificate of inspection by competent person prior to use as well as arrangements for re-inspection every 7 days or as necessary eg after high winds? |  |  |
| 4 | Fall prevention eg guard railing, used where appropriate in preference to methods which minimise the consequences of a fall? |  |  | 10 | Maximum height of tower scaffold within manufacturer’s spec.? |  |  |
| 5 | Rescue plan in place, where appropriate, with equipment readily to hand and workers trained? Eg for use of nets and air bags? |  |  | 11 | Competent supervision provided? |  |  |
| 6 | Ladders only to be used for access and light, short duration work? |  |  | 12 | Area below cordoned off/protected? |  |  |
| IN THE EVENT OF ANY UNANTICIPATED SERVICE OR OBJECT BEING DISCOVERED, OR ANY OTHER EMERGENCY, WORK SHALL BE STOPPED IMMEDIATELY AND THE RELEVANT AUTHORITY NOTIFIED. |
| Prior to working | PPE REQUIREMENTS: Hard hat, Safety shoes, Vests, Goggles, Hand gloves and Safety Harnesses |
|  | I have inspected the work area, fall protection measures and relevant paperwork and confirm that work can go ahead as detailed in this permit. name …………………………………………... signed ……………………………………………………. date ……………………………........ |
| Permit cancellation | The permit is cancelled; all additional works will require a new permit to be issued. name …………………………………………... signed ……………………………………………………. date ……………………………........ |
|  | CANCELLATION BY SAFETY OFFICER: This permit to work is cancelled. A new permit is required for further working at height in this location. name …………………………………………... signed ……………………………………………………. date ……………………………........ |